## Sheet1
10.Laboratory tools and equipments
| Refrigerator (-20° C, +4 °C) | No | 1 | 170000 | 170000 | KSRIC
| Biosafety cabinet Class II B2 | No | 3 | 1800000 | 5400000 | KSRIC
| Analytical weighing balance | No | 2 | 250000 | 500000 | KSRIC
| Gel electrophoresis system (casting plates, electrode assembly, companion running module, buffer tank and lid, casting stand and frames, Power Pac | No | 1 | 650000 | 650000 | KSRIC
| Microplate Spectophotometer (Preferred wavelength range 200 -999 nm) | No | 1 | 4417595 | 4417595 | KSRIC
| Illumina Hiseq 2500 | No | 1 | 8920670 | 8920670 | KSRIC
| Negative 80 freezer | No | 2 | 3900000 | 7800000 | KSRIC
| Columns ( Sephadex G25 desalting column, RP-HPLC, Hydrophobic interactions columns) | No | 2 | 419830 | 839660 | KSRIC
| ELISA washer and dispenser | no | 1 | 4900000 | 4900000 | KSRIC
| Transblot transfer system | No | 1 | 965126 | 965126 | KSRIC
| Protein A/G affinity chromatography columns (HiTrap Protein A HP 5ml and HiTrap Protein G HP 5ml) | No | 5 | 300000 | 1500000 | KSRIC
| Ultra-Performance Liquid Chromatography (1290 Infinity II, Agilent Technologies) | No | 1 | 13260000 | 13260000 | KSRIC
| Liquid nitrogen tank (50ml) | No | 2 | 152000 | 304000 | KSRIC
| Medium centrifuge | No | 1 | 50157 | 50157 | KSRIC
| CO2 Incubator | No | 1 | 2400000 | 2400000 | KSRIC
| Refrigerator double door 635 litres (+4,-20) | No | 2 | 280000 | 560000 | KSRIC
| lab stools | No | 20 | 75000 | 1500000 | KSRIC
| Vortexer | No | 2 | 45000 | 90000 | KSRIC
| Eye wash and mounted stations | No | 5 | 50000 | 250000 | KSRIC
| Power supply extension | No | 7 | 14000 | 98000 | KSRIC
| UPS | No | 3 | 323700 | 971100 | KSRIC
| Electric Inverter APC | No | 1 | 3500000 | 3500000 | KSRIC
| Water distiller system | No | 1 | 3000000 | 3000000 | KSRIC
| Mini Centrifuge (PCR tubes) | No. | 1 | 380000 | 380000 | KSRIC
| Mini vortexer mixer | No. | 1 | 27625 | 27625 | KSRIC
| Thermocycler | No. | 1 | 2964443 | 2964443 | KSRIC
| Laboratory fluorescence microscope | No. | 1 | 817768 | 817768 | KSRIC
| Amscope fluorescent microscope camera | No. | 1 | 421476 | 421476 | KSRIC
| BD Facs Melody Cell Sorter | No | 1 | 84000000 | 84000000 | KSRIC
| Refrigerator (-20° C, +4 °C) | No. | 1 | 170000 | 170000 | KSRIC
| Pro-safe Fume Hood 6ft | No. | 1 | 1620000 | 1620000 | KSRIC
| Chest Freezer 480L | No. | 1 | 80000 | 80000 | KSRIC
| Portable medical freezer (-20 ) | No. | 1 | 380000 | 380000 | KSRIC
| Autoclave Machine | No. | 2 | 1800000 | 3600000 | KSRIC
| Portable power generator | No. | 2 | 350000 | 700000 | KSRIC
| Wheelchair | No. | 1 | 50000 | 50000 | KSRIC
| Pallet truck (trolly) | No. | 2 | 50000 | 100000 | KSRIC
| CO2 tank and gauge | NO | 2 | 100000 | 200000 | KSRIC
| Small animal rodent euthanasia chamber | No | 2 | 80000 | 160000 | KSRIC
| Temperator monitor for freezer room | No | 15 | 8000 | 120000 | KSRIC
| Lab thermometer hygrometer | No | 7 | 1200 | 8400
| Confined space multi gas detector | No | 2 | 350000 | 700000
| Equipment maintenance and servicing |  |  |  | 6000000 | KSRIC
| Total |  |  |  | 164546020