INSTITUTE OF PRIMATE RESEARCH

INTERNAL MEMO

DATE: 24TH AUGUST 2023

TO: PAC

THRU: POM

FROM: ENG. TECHNOLOGIST

RE: REPORT FOR AIR CONDITIONER AT TID FREZER ROOM

MODEL NO. S246SC    50HZ

SERIAL NO. ME262821107.

The air conditioning system broke down after it developed a condition known as icing which came up as a result of fault in the control motherboard.

It is a very cumbersome condition which occurs due to aging of the system. A short-term solution of replacement of the motherboard is recommended but for longevity acquisition of a brand new complete a/c system is recommended.