KENYA INSTITUTE OF PRIMATE RESEARCH

INTERNAL MEMO

REF: KIPRE/ADM//02/2024

DATE: 17th JUNE, 2024

TO: THE DIRECTOR GENERAL

CC.PRINCIPAL ACCOUNTANT

FROM: HR AND ADMIN OFFICER

RE: URGENT REPAIRS OF BRIDGES ,ROADS AND ROOFS AT THE INSTITUTE

This is to bring to your attention the conditions of the bridges, roofs and roads in the institute. They are in pathetic conditions and if urgent repairs are not done in time the institute will incur more costs, risks and damages especially during the anticipated short rain season. Below is the report and cost of repairs for your attention and approval.

| TYPE OF REPAIRS | AREA IDENTIFIED | ACTION TAKEN | ESTIMATED COST |
| --- | --- | --- | --- |
| Repair of bridges | Bridge next to ASD and bridge on your way to residential area | Requisition nos 14878 dated 4/9/2024 | 320,0000 |
| Removal of leaking asbestos roofs | Pathology building feed store/Generator house | Requisition nos 14865 and 14866 dated 14/8/2024 | 1,376,422 |
| Depleted Road at Residential area | Residential area | Requisition nos.14883 dated 12/9/2024 | 200,000 |
| TOTAL |  |  | 1,896,422 |

CC.Head Physical Operations